## Sheet1
Things to Monitor and/or Convert
|  |  | Min | Min Value | Max | Max Value
ADC Channel
1 |  | Load Bank Contactor | 0 VDC | Contactor Not Engaged | 5 VDC | Contactor Engaged
2 | 1a | LEM 1 | 0 VDC | 0 Amps Output |  | 800 Amps Output
3 | 1b | LEM 2 | 0 VDC | 0 Amps Output |  | 800 Amps Output
4 | 2a | Shunt 1 | 0 VDC | 0 Amps Output | .050VDC | 800 Amps Output
5 | 2b | Shunt 2 | 0 VDC | 0 Amps Output | .050 VDC | 800 Amps Output
|  | Output Current(Reported) | 0 ADC | 0 Amps Output | 1600 ADC | Max Machine Output
6 | 3a | Stud Voltage(Actual) | 0 VDC | 0 Amps Output | 99.99 VDC | OCV (Stick Mode, 85VDC Typical)
7 | 3b | Stud Voltage(Reported) | 0 VDC | 0 Amps Output | 99.99 VDC | OCV (Stick Mode, 85VDC Typical)
8 | 4a | Vsupply Line 1 | 230 VAC | Value shouldn't Change | 575 VAC | Value shouldn't Change
9 | 5b | Vsupply Line 2 | 230 VAC | Value shouldn't Change | 575 VAC | Value shouldn't Change
10 | 6a | Vsupply Line 3 | 230 VAC | Value shouldn't Change | 575 VAC | Value shouldn't Change
11 | 4b | Isupply Line 1 | 0 AAC | 0 Amps Output | 100 AAC | Max Machine Output
12 | 5a | Isupply Line 2 | 0 AAC | 0 Amps Output | 100 AAC | Max Machine Output
13 | 6b | Isupply Line 3 | 0 AAC | 0 Amps Output | 100 AAC | Max Machine Output
|  | Load Bank Frame | 0 VDC | if OK | Stud Voltage | if grounded | with respect to the other stud

## Sheet2
10 | Minutes
600 | Seconds | 873.8133 | 524288 | Bytes Available
40-60 | Samples per Second
10 | Samples Saved per Second
Average every 4-6 Samples
6000 | Total Samples | 87.3813 | Bytes per Record
|  | 8192 | @ 64 Bytes per Record
|  | 9362.2857 | @56 Bytes per Record
Record Format
50
Ida |  | 0 | 599 |  |  |  | 599 | 600 | 3
Idb |  | 0 | 9 |  |  |  | 9 | 9 | 1
1
2 | 1a | LEM 1 | 0 VDC | 0 Amps Output |  | 800 Amps Output | 14.99 | 1499 | 4
3 | 1b | LEM 2 | 0 VDC | 0 Amps Output |  | 800 Amps Output | 14.99 | 1499 | 4
4 | 2a | Shunt 1 | 0 VDC | 0 Amps Output | .050VDC | 800 Amps Output | 4.99 | 499 | 3
5 | 2b | Shunt 2 | 0 VDC | 0 Amps Output | .050 VDC | 800 Amps Output | 4.99 | 499 | 3
|  | Output Current(Reported) | 0 ADC | 0 Amps Output | 1600 ADC | Max Machine Output | 1599.9 | 15999 | 5
6 | 3a | Stud Voltage(Actual) | 0 VDC | 0 Amps Output | 99.99 VDC | OCV (Stick Mode, 85VDC Typical) | 99.9 | 999 | 3
7 | 3b | Stud Voltage(Reported) | 0 VDC | 0 Amps Output | 99.99 VDC | OCV (Stick Mode, 85VDC Typical) | 99.9 | 999 | 3
8 | 4a | Vsupply Line 1 | 230 VAC | Value shouldn't Change | 575 VAC | Value shouldn't Change | 5.75 | 575 | 3
9 | 5b | Vsupply Line 2 | 230 VAC | Value shouldn't Change | 575 VAC | Value shouldn't Change | 5.75 | 575 | 3
10 | 6a | Vsupply Line 3 | 230 VAC | Value shouldn't Change | 575 VAC | Value shouldn't Change | 5.75 | 575 | 3
11 | 4b | Isupply Line 1 | 0 AAC | 0 Amps Output | 100 AAC | Max Machine Output | 99.99 | 9999 | 4
12 | 5a | Isupply Line 2 | 0 AAC | 0 Amps Output | 100 AAC | Max Machine Output | 99.99 | 9999 | 4
13 | 6b | Isupply Line 3 | 0 AAC | 0 Amps Output | 100 AAC | Max Machine Output | 99.99 | 9999 | 4

## Sheet3
|  | min | max
| 328P ADC Time (s) | 1.3e-05 | 0.00026 | 15 ksps
| 2560 ADC Time | 1.3e-05 | 0.00026 | 15 ksps | 76923.0769 | 15000
| Xmega ADC Time |  |  | 2msps
400000 | hz |  |  |  | 66000000 | RapidS- at45
[5 empty] | 85000000 | SPI - at25
[5 empty] | 100000000 | RapidS AT25
16000000 | Osc Freq. |  |  |  | SPI Clock Freq
|  |  |  | 1 | 16000000
|  |  |  | 2 | 8000000
|  |  |  | 4 | 4000000
|  |  |  | 8 | 2000000
|  |  |  | 16 | 1000000
|  |  |  | 32 | 500000
|  |  |  | 64 | 250000
|  |  |  | 128 | 125000
USART Speeds
2400
4800
9600
14400
19200
28800
38400
57600
76800
115200
230400
250000
500000
1000000

## ADC Stuff
Vcc | 3.3
Vcc/1.6 | 2.0625
Bandgap | 1
|  | 12 Bit | 11 Bit | 10 Bit |  | 16000000 | System Clock
|  | 4096 | 2048 | 1024
Vref | 4.096 | 0.001 | 0.002 | 0.004 |  | 16000000 | 1 |  | System | Prescaler
Vref | 2.048 | 0.0005 | 0.001 | 0.002 |  | 8000000 | 2 |  | System | Prescaler
Vref | 1.024 | 0.00025 | 0.0005 | 0.001 |  | 4000000 | 4 |  | System | Prescaler
(2560-16au) | 2.56 |  |  | 0.0025 |  | 2000000 | 8 |  | System | Prescaler
(2560-16au) | 1.1 |  |  | 0.0010742 |  | 1000000 | 16 |  | System | Prescaler
(2560-16au) | 5 |  |  | 0.0048828 |  | 500000 | 32 |  | System | Prescaler
Xmega | 3.3 | 0.00080566 | 0.0016113 | 0.0032227 |  | 250000 | 64 |  | System | Prescaler
| 2.0625 | 0.00050354 | 0.0010071 | 0.0020142 |  | 125000 | 128 |  | System | Prescaler
| 1 | 0.00024414 | 0.00048828 | 0.00097656 |  | 62500 | 256 |  | System | Prescaler
[7 empty] | 16000000 | 8000000 | 4000000 | 2000000 | 1000000 | 500000 | 250000 | 125000 | 62500
[5 empty] | ADC Prescaler | 8 | 2000000 | 1000000 | 500000 | 250000 | 125000 | 62500 | 31250 | 15625 | 7812.5
[5 empty] | ADC Prescaler | 64 | 250000 | 125000 | 62500 | 31250 | 15625 | 7812.5 | 3906.25 | 1953.125 | 976.5625
[5 empty] | ADC Prescaler | 256 | 62500 | 31250 | 15625 | 7812.5 | 3906.25 | 1953.125 | 976.5625 | 488.2812 | 244.1406
[5 empty] | ADC Prescaler | 1024 | 15625 | 7812.5 | 3906.25 | 1953.125 | 976.5625 | 488.2812 | 244.1406 | 122.0703 | 61.0352
ADC requires freq between 50khz & 200khz
[7 empty] | 16000000 | 8000000 | 4000000 | 2000000 | 1000000 | 500000 | 250000 | 125000 | 62500
[5 empty] | ADC Prescaler | 8 |  |  |  |  | 125000 | 62500
[5 empty] | ADC Prescaler | 64 |  | 125000 | 62500
[5 empty] | ADC Prescaler | 256 | 62500
[5 empty] | ADC Prescaler | 1024

## Timing doodles
|  |  | milli | 0.001
|  |  | micro | 1e-06
|  |  | nano | 1e-09
Freq (HZ) | Elapsed Time(Dec.) | Elapsed Time (English Imp.)
16000000 | 6.25e-08 | 62.5 | Nano
8000000 | 1.25e-07 | 125 | Nano
4000000 | 2.5e-07 | 250 | Nano
2000000 | 5e-07 | 500 | Nano
1000000 | 1e-06 | 1 | Micro
500000 | 2e-06 | 2 | Micro
250000 | 4e-06 | 4 | Micro
125000 | 8e-06 | 8 | Micro
31250 | 3.2e-05 | 32 | Micro
15625 | 6.4e-05 | 64 | Micro
7812.5 | 0.000128 | 128 | Micro
3906.25 | 0.000256 | 256 | Micro
1953.125 | 0.000512 | 512 | Micro
976.5625 | 0.001024 | 1.024 | Milli
488.2812 | 0.002048 | 2.048 | Milli
244.1406 | 0.004096 | 4.096 | Milli
122.0703 | 0.008192 | 8.192 | Milli
61.0352 | 0.016384 | 16.384 | Milli
30.5176 | 0.032768 | 32.768 | Milli
15.2588 | 0.065536 | 65.536 | Milli
7.6294 | 0.13107 | 131.072 | Milli
3.8147 | 0.26214 | 262.144 | Milli
1.9073 | 0.52429 | 524.288 | Milli
0.95367 | 1.0486 | 1.0486 | Second
0.47684 | 2.0972 | 2097.152 | Second